FINEO 10T - Vacuum Insulating Glazing

FINEO is a vacuum insulating glazing unit consisting of two sheets of clear thermally tempered glass separated by a vacuum cavity. The sheets are separated by means of a lead-free inorganic edge seal that was specially developed for vacuum applications. This lead-free inorganic edge seal provides mechanical strength and creates a hermetic seal.

It has a sound reduction index of Rw = 36(-2;-3) dB, in accordance with ISO 19916-1, clause 8.

FINEO features a linear getter installed along the edge of the vacuum cavity where the coating has been stripped. It does not have a vacuum evacuation port.

The vacuum insulating glazing unit consists of two sheets of EN 12150-compliant glass with a vacuum cavity of approximately 0.1mm between them. The cavity is maintained by very small spacer pillars placed between the sheets of glass in a 20mm array (grid pattern) over the entire surface of the glass.

An EN 1096-compliant low-e coating is applied to the inner sides of the glass sheets, i.e. the sides in contact with the vacuum cavity.

Main light and energy properties of the following composition(1):

10mm vacuum insulating glazing unit (0.1mm vacuum cavity and low-e coating).

| Property | Value | Unit | EN standard |
| --- | --- | --- | --- |
| LT – Light transmission | 79 | % | EN 410 |
| External LR / Internal LR – Light reflectance | 14 / 14 | % |  |
| g | 0.61 | - |  |
| Ug-value | 0.7 | W/(m².K) | EN 673 |
| Rw | 36 (-2;-3) | dB | ISO 19916-1, clause 8 |
| Actual thickness | 9.7 | mm |  |

The visual appearance is transparent and neutral on both sides.

The hermetic seal of the vacuum insulating glazing unit is guaranteed for 20 years under the manufacturer's warranty.

The thickness of the glass sheets in the vacuum insulating glazing unit are determined on the basis of the glazing dimensions, wind load, climate load, project-specific loads and the specific inherent mechanical properties of vacuum insulating glazing.

The annealed clear glass must be Cradle to Cradle Certified® Bronze and the low-e coating must be Cradle to Cradle Certified® Bronze, as assessed by MBDC (an accredited independent certification body).

- These values are calculated on the basis of spectral measurements in accordance with standards EN 140 and ISO 9050:1990. The U-value is calculated on the basis of standard EN 673 and measured in accordance with EN 674. The emissivity measurement complies with standards EN 673 (Annex A) and EN 12898.